PAPER 8

POOL WATER TESTING AND DOSING EQUIPMENT

Swimming pool water requires balancing and chemical treatment to establish certain desirable properties of the water.  Some chemicals are naturally present in the water, while others have to be added – especially in New Zealand metropolitan areas where much of the town supply water comes from reservoirs (i.e. Rainwater – which is “distilled”).

There is a wide range in the quality of the make-up water.  The optimum requirements vary according to the interior finish of the pool; therefore it is not possible to add the treatment chemicals to a predetermined formula, so testing must take place.

The First step is to consider the type of finish of the pool, then the Second step after filling the pool is that the water has to be tested.

Third and Fourth steps are to calculate the correct quantities of the required chemicals and add and mix thoroughly with the water, then the resulting water has to be checked again.

Sampling is very important.  Ideally the filter should be operating and the water is to be thoroughly mixed before taking the sample, however, this is not always possible. 

Consideration should be that a small volume of the sample represents 50, 60 or even many more thousands of litres of water.  Thus one or more representative samples should be taken as the accuracy of the test results depends on the samples.

DOs and DON'Ts of chemical testing:

Test reagents should be fresh, preferably renewed every year.

Chemicals and the coloured test comparator should be stored in a dark, cool place.

Chemicals should not left exposed to heat or sunlight.

Don’t let your fingers come into contact with the test reagents, as many of the chemicals are harmful if in contact with the skin.

Tested samples should be poured away from the pool out of reach of people and children, never poured back into the pool.

Children and immature teenagers should not be allowed to handle the test reagents.

The various tests which are carried out routinely are discussed below:

1.	To determine chlorine or bromine

1.1	ORTHOTOLIDINE (OTO).  This is a harmful and a strongly acid solution, not recommended by the Health department, and not generally in use at this time.  

When added to a chlorine containing solution it develops a yellow colour.  The amount of chlorine is determined by matching the intensity of the colour with a calibrated set of colour standards.  The higher the chlorine content the darker the yellow colour is.  The reagent will produce a brown colour if the chlorine concentration is too high.  In this case the sample should be diluted and the result multiplied by the degree of dilution.

OTO determines the total chlorine content of the pool water.

  - DPD.   There are two reagents used and they are No 1 and No 3.  Both are available in liquid or tablet form.  The tablets are usually more stable than the solution.  The appearance of any pink or brown colouration of the reagents indicates that it has deteriorated beyond use.

DPD No 1 is used to determine free chlorine.  The pink colour developed after adding the reagent should be read within 2 minutes by matching to a set of calibrated standards.  DFD No 3 is than added to the SAME sample and the colour is matched again.  This value is the total chlorine.  The difference between the total and free chlorines (second reading minus the first reading) is the amount of combined chlorine.

The above methods equally apply to the determination of bromine as well.

1.3	There are ion-selective electrodes to determine chlorine and bromine, however, the equipment requires careful calibration which is beyond the capability of the pool shops.

Also there are little bimetallic gadgets to determine chlorine.  These were found completely useless, they should not be used or sold.

2.	Polymeric Biguanide

It has its own reagent and colour standard and that has to be used.  There is no test kit for the hydrogen peroxide.

3.	Total Alkalinity

As a rule three reagents are used:  chlorine neutralizer which is mixed with the sample to destroy chlorine otherwise the colour of the indicator is affected leading to erroneous results.  

The coloured indicator will change its colour when the measurement is complete.  The third solution is the measuring solution. It is added dropwise, counting each drop until the indicator has changed its colour.  The actual number of the drops used multiplied by a factor - usually 10 - is the total alkalinity as mg/L calcium carbonate.

The indicator solution used in this determination cannot be substituted by any fo the other indicators in the test kit.

4.	pH

It can be measured by using indicator solutions or electronic pH meters.

4.1	The coloured pH indicator most frequently used is PHENOL RED which is yellow at or below pH 6.8, changing to deep read at the above pH 8.2 Phenol red will indicate the correct pH only between 6.8 and 8.2.  For instance it is not possible to establish whether the pH of a sample is 6.8 or 6.0 or even 5.0 as the colour is the same yellow.  

Since some of the older fibreglass pools have to be maintained at pH 6.8 to avoid the appearance of the dreaded black stain BROMOTHYMOL BLUE indicator is recommended instead of phenol red.  Bromothymol blue has a green colour at pH 6.8, it is yellow at pH 6.0 and it is blue at 7.6.

- The electronic pH meter consists of a millivolt meter which is calibrated to read pH values and a probe which consists of a glass measuring and a calomel or similar reference electrodes.  The electrode is fragile and it should be handled with care.

- The pH meter has to be calibrated using accurately made buffer solutions.  There are portable models and those requiring mains power.  A  good quality pH meter has the full range of the pH and is recommended for pool servicing technicians.

5.	CALCIUM HARDNESS TEST

The kit consists of a buffer solution indicator and a measuring solution which is added dropwise counting the drops.  The colour change is usually from read to pure blue.  The multiplying factor is 10 or 50.  The latter is better for hard waters, but it is not very accurate for soft waters like those in Sydney or most part of the Eastern coast.

This test is not usually provided to the home pool owners.

6.	CYANURIC ACID TEST

A sample of the pool water is mixed with the reagent which will produce a turbidity the intensity of which is dependant  on the amount of the cyanuric acid in the water.  The test has to be carried out within a specified time and at room temperature (say 20-25 deg c.)

7.	TEMPERATURE

It is measured with a thermometer or with a probe some pH meters have built in.  True values can be obtained only on site.

8.	TOTAL DISSOLVED SOLIDS

These are measured either with a conductivity meter which requires calibration or with a hydrometer which measures the density of the water.  It also requires calibration.   The values provides an estimate of the total amount of the salts, but not the identity of the individual constituents.

9.	SALT CONTENT DETERMINATION

This value is important for the efficient operation of the salt water chlorinators.  The yellow indicator solution turns brown when enough drops were added to the water sample.  The multiplying factor is usually 500.  Care should be taken with the silvernitrate reagent solution as it is affected by light and thus it should be kept in the dark when not in use.  Also it stains the skin, apart from being poisonous.

Automatic Dosing Equipment

1.	Chlorine dispensing and generating equipment.

Liquid chlorine is pumped into the water by a small peristaltic pump.  The rate of dosing is predetermined as well as the length of the time of dosing.   The pump is activated by the filter motor.  The dosage rate has to be set to suit the conditions.

An improved version is the unit which has a sensor and it adds chlorine depending on the chlorine content of the water.  If the predetermined chlorine level was achieved no more chlorine is added.

The salt water chlorinator starts producing chlorine when the filter starts.  The length of time will determine how much chorine is generated.

The humble floating dispenser which is designed to contain either 25mm or 75mm Trichlor tablets (chemical name: trichloroisocyanuric acid or 1,3,5,trianzine) or the less common 25mm Cal Hypo tablets (not as common in New Zealand as Australia, and as they dissolve very rapidly they create higher water treatment costs) is a very simple device.  It is suitable form of "automatic" chlorination for supplementary chlorination, but it is not usually enough on its own.  

The dosage rate is dependant on the temperature of the water and on the movement of the float in the water.  An improved version is the dispenser which is built in the return line of the filter and the dosages rate can be adjusted as required. Remember that Trichlor Tabs have a very low pH (2.0 to 3.0) and acidic water will result from continued use of Trichlor as well a build up of cyanuric acide in the pool (ideally 30 to 60 ppm – above this inhibits the effectiveness of chlorine in the pool water)

A similar device is used in spas for the dosage of the spa water with the bromine sticks.  The amount of water that flows through the dispenser determines the level of the bromine in the spa water.

NOTE:   The trichlor or Cal Hypo tablet dispensers should be used with the slow dissolving tablets only, NOT with granular chlorine.  Also mixing of two different chlorine compounds should be avoided as serious accidents can occur.

Although the above dispensers are more or less automatic frequent testing of the water is necessary to ensure that it is sanitary and correctly balanced for the interior of the pool at all times.

2.	pH controlling equipment

This unit measures the pH of the water and if the pH is higher than the preselected value it adds some liquid acid to the water.

These units are quite unnecessary and the ones which inject the acid into the suction line before the filter should be avoided.

ROUTINE POOL WATER MAINTENANCE

DAILY			- filter the water every day

- add or generate chlorine or bromine

- remove leaves, twigs etc.

WEEKLY		- in addition to the daily route - check the pH.  If it is higher or 			  	lower than required test the total alkalinity.

- adjust it as required.   This will also adjust the pH

- vacuum the pool unless it is carried out automatically

- check the filter and backwash or clean if required.

MONTHLY		- in addition to the weekly tests -

- check the total alkalinity and adjust as required

- better still the water should be tested by a competent pool 	   technician and adjusted as necessary.

OFF-SEASON		- when the pool is not used -

- vacuum regularly to avoid the building up of dirt

- add an effective algaecide every three - four weeks

-  chlorinate if algaecide cannot cope

- when away turn the pump off to avoid the pump running dry

BEFORE USING	- superchlorinate the water

- check the pH and adjust as before pool is ready for use

BEFORE THE SEASON

- have the water tested by a competent pool technician and adjust 	  as required.

- Obtain fresh reagents

By following these guidelines, a “happy” pool – and pool customer – should result

-end-