PAPER 8	Score:     out of      (    %)			Your Name _____________

POOL WATER TESTING AND DOSING EQUIPMENT

In New Zealand metropolitan areas, much of the town supply water comes from 

1. ____________________ which is premominantely 2. _______________ so is 

effectively 3. ___________________water, and there is a wide range in the quality of the 

make-up wate, so 4. ___________________must take place.

Using this water to fill a residential swimming pool:

The First step is to 5. _______________________________________, then the Second step 

is that the pool water 6. _______________________________. Third and Fourth steps are to

7.________________ and 8. ____________________then the resulting water has to be 

9. _________________________________.

Sampling is very important.  Ideally the filter should be operating and the water is to be thoroughly mixed before taking the sample, however, this is not always possible. 

Consideration should be that a small volume of the sample represents 50, 60 or even many more thousands of litres of water.  Thus one or more representative samples should be taken as the accuracy of the test results depends on the samples.

DOs and DON'Ts of chemical testing:

10. Test reagents should be ___________________________________________________.

11. Chemicals and the coloured test comparator should be stored _____________________

12. Chemicals should not be __________________________________________________

13. Don’t ______________________, as many of the chemicals are ___________________ 

14. ________________________________________________________________________

15. Tested samples should be disposed of_________________________________________

16. And never _______________________________________________________________

.

17. Should Children and immature teenagers be allowed to handle the test reagents? ______.

Which tests are carried out routinely to test residential pool water?

18.	To determine chlorine or bromine levels, use _________tablets

There are ion-selective electrodes to determine chlorine and bromine, however, the equipment requires careful calibration which is beyond the capability of the pool shops. Also there are little bimetallic gadgets to determine chlorine.  These were found completely useless, they should not be used or sold.

19.	For Polymeric Biguanide, use ____________________________________________

20. 	Hydrogen Peroxide? ___________________________________________________
.

21.	Total Alkalinity? Step 	(a) Add ___________ to _____________________________

(b) Add ___________ to _____________________________

(c) then  _________________________________________

22.	pH can be measured by using ___________________ or ______________________

23.	The coloured pH indicator most frequently used is ____________________________

24.	What colours develop by this test at the following pH levels: 6.8 _____ and 8.2 _____

Since some of the older fibreglass pools have to be maintained at pH 6.8 to avoid the appearance of the dreaded black stains, what indicator is recommended instead of the traditional testing agent?

25. _______________________________________________

An electronic pH meter consists of a millivolt meter which is calibrated to read pH values and a probe which consists of a _________________________________________________________________

26 	A Calcium Hardness test kit consists

of:__________________________________________________________________

___________________________________________________________________________

Cyanuric Acid test kit (This test is not usually provided to the home pool owners) 

27		A sample of the pool water is mixed with the reagent which will produce

____________________________________________________________________

28	Temperature is measured with ___________________________________________

29	Total dissolced solids are measured either a __________________________

or with a _____________________________

30	What does this test NOT tell you? _________________________________________

Salt water content determination.

31	This value is important for the efficient operation of the salt water chlorinators.

The yellow  indicator solution is (a) __________________ which turns (b) _________

(colour) when enough drops were added to the water sample.

The multiplying factor is usually (c) ________   Care should be taken with the reagent solution as it is affected by light and thus it should be kept in the dark when not in use.  

Also apart from being poisonous, it stains the skin,.

32	Automatic Dosing Equipment

Describe Chlorine dispensing equipment.

__________________________________________________________________________

33	The typical dosing pump is called a _____________________ type pump

34	Chlorine is created electrostatically by __________________________________________________________________________

35	What happens to the pool water pH when an electrostatic device is used?

__________________________________________________________________________

36	What have the manufacturers of these devices done to combat this situation?

__________________________________________________________________________

37	What is the simplest (and cheapest) product that feeds chlorine into a pool?

__________________________________

38 	This device uses ____________________ tablets which have a pH of ____________

NOTE:   The tablet dispensers should be used with the slow dissolving tablets only, NOT with granular chlorine.  Also mixing of two different chlorine compounds should be avoided as serious accidents and explosion can occur.

pH controlling equipment

39 	This unit measures the pH of the water and if the pH is higher than the preselected value it _____________________________________________________________ to the pool water.

40	These units which inject the acid into the suction line (a) before or (b) after the filter and any heating equipment

ROUTINE POOL WATER MAINTENANCE ( …..in an ideal world!)

41 	DAILY		(a) _______________________________________

(b) _______________________________________

(c) _______________________________________

42	WEEKLY	iin addition to the daily routine

(a) _______________________________________

(b) _______________________________________

(c) _______________________________________

(d) _______________________________________

43	MONTHLY	(a) _________________________________________

(b) _________________________________________

44	OFF-SEASON	 when the pool is not being used

(a) _________________________________________

(b) _________________________________________

(c) _________________________________________

(d) When away _______________________________

45	SPRING STARTUP: What is recommended?

(a) _________________________________________

	(b) _________________________________________

(c) _________________________________________

(d)__________________________________________

-end-