PAPER 11 TEST						                     Your Name ______________________

TROUBLE SHOOTING Score _______ out of   48    (    %)

CLOUDY WATER

Possible causes: 	1.  ___________________________________

Remedy: 		2. ___________________________________________________________________

COLOURED WATER (two points)

3. Colouration may be caused by 	(a) _________________________________________________

(b) _________________________________________________

4 	Metal ions.

Most coloured metal ions are insoluble in alkaline and well-chlorinated water and they impart a green, milky appearance to the water.

The water should be 

5. ______________________________ immediately as the green haze will

6. ____________________________________the interior of the pool

.

7, _______________________________________of the contaminates will accelerate the removal.

8. The contamination by metal ions can be prevented by: (four points)

a.	__________________________________________

b.	__________________________________________.

c.	do not use _________________________________

d.	prevent ___________________________________ dropping into the pool.

9.	Tannins (Two points)

This type of colouration is found in water which is drawn from (a) ___________________________

Also it may be leached out from the timber of new hot tubs.

Remedy: Tannins are destroyed by )b) ________________________________________________

10.	Algae

Algae are easily destroyed by which common pool chemical?  __________________________________________.

STAINING OF THE WALLS AND FLOOR

Possible cause:  Metal ions like iron, copper, manganese, silver etc. tannins and pigments from plants, or using a foul or uncleam water source such as a dam, river, well etc..

11.  	Prevention: the pH of the pool water (which should always be greater than 7.0)

- Could _________________ the make-up water instead of adding it directly into the pool.

- Could _________________ leaves, twigs, mud & debris  as soon as possible.

12.	Removal of metal ion stains.  

In pools with non-reactive finish. (eight points)

a.	_______________________________________________________________________________

b.	_______________________________________________________________________________

c.	_______________________________________________________________________________

.

d.	_______________________________________________________________________________

e.	_______________________________________________________________________________

f.	_______________________________________________________________________________

g.	_______________________________________________________________________________

h.	_______________________________________________________________________________

13	  Removal:  in pools with reactive finish.

The treatment carried out (above) is not satisfactory in these pools.  (Two points)

- If the stain is in small spots they may be removed by __________________________________________

- To remove larger stains the water has to be_____________and the stain removed by 

____________________________________________________________________________________ Some methods leave a very rough finish and should be used as a last resort

If acid washing is used care should be taken to remove the excess liquid as soon as possible to prevent the staining of the floor or the lower parts of the wall.

14.	Removal of organic stains. (Three points)

(a) _________________ destroys the organic stains.  If necessary (b) _________________________ may be applied 

or even dropping small amounts of (c)  __________________________on the stain.  Care should be taken not to 
bleach the interior, especially the coloured or printed vinyl lining.  If in doubt about fading do NOT add solid chlorine to the pool.

15. 	BLACK SPOT ALGAE

- Small black spots can be removed relatively easily by ___________________.

16. 	Black spot algae found in concrete pools with marblesheen or other cement-type finishes may be removed by

(a) ____________________________________________________________________________________

(b) ____________________________________________________________________________________

(c) ____________________________________________________________________________________

(d) ____________________________________________________________________________________

(e) ____________________________________________________________________________________

(Five points)

17	EYE IRRITATION, STRONG CHLORINE ODOUR (Three points)

These are the result of insufficient chlorination and the presence of chloramines.

Remedy:

a. ____________________________________________________________________________________

b. ____________________________________________________________________________________

c. ____________________________________________________________________________________

.

18	RAPID CONSUMPTION OF CHLORINE (Three points)

Chlorine (and bromine) is rapidly destroyed by ultraviolet rays of the sun, by heat and organic contaminates.  The loss can be minimized although it cannot be avoided altogether.

Remedy:

a.	____________________________________________________________________________________

b.	____________________________________________________________________________________

c.	____________________________________________________________________________________

19	GREEN ALGAE ON THE WALLS (Three points)

It is due to insufficient chlorination and the lack of algaecides.

Remedy:

- ____________________________________________________________________________________

- ____________________________________________________________________________________

- ____________________________________________________________________________________

-end-