PAPER  7 TEST							Your Name ______________________

Results ________ points out of   58      (       %)

THE CHEMICAL BALANCE OF CONCRETE POOL WATER (Background Information)

Since it is rare to find water which is in perfect equilibrium with the pool's interior, 1. WHAT ___________________is required to correct the imbalance in the solids content of the water.

We have to bring the water to the point of WHAT 2. ________________ by adding certain substances in the right proportion, rather than wait until this state is achieved naturally.

3. ___________________________means the adding of specified quantities of chemicals to the pool water to achieve equilibrium between the pool water and the internal (often plaster) surface of the pool.

The correct chemical balance is very important as it has an effect on:

- ____________________________

- ____________________________

- ____________________________

- ____________________________

The chemical balance of the pool water is the combined effect of:

- ____________________________

- ____________________________

- ____________________________

- ____________________________

- ____________________________

Is pH Important?

Why? 13. ______________________________________________________________________________________

SATURATION INDEX (SI)

What does this Index measure?

 14. ___________________________________________________________________________________________

Why is it important? 15. ___________________________________________________________________________

Why is it not used as much as in the past? 16. ________________________________________________________

It was pointed out that one of the roles of the chemical treatment is to make the water compatible with the pool's finish, fittings and equipment.  Also it was mentioned that different pool finishes require different treatments.

Please expand on the above statement 

17. ___________________________________________________________________________________________

______________________________________________________________________________________________

______________________________________________________________________________________________

______________________________________________________________________________________________

It was also stated that the water which is out of chemical balance etched the plaster finish finish or it formed a deposit on it.  In other words …

WHAT happens? 18. ____________________________________________________________________________.

In the case of the vinyl lined pool, however, such etching is impossible by the unsaturated water as there is no plaster to etch and the vinyl is insoluble in the water.  Also it is difficult to form a hard scale on the smooth surface of the vinyl lining.  In other words there was 19. ____________________________ between the water and the vinyl lining.

In the case of the over-saturation the excess is not held by the water and it is likely to become 

20. _______________________ and 21. __________________________________________________

This situation may also apply to moulded fiberglass pools.

Pool finishes can be classified into two categories:

22. ___________________FINISHES like marblesheen, exposed aggregate, the grouting around the tiles, slates etc.

23. ___________________FINISHES like vinyl lining, paint, fibreglass, any that does not contain cement or plaster.

NOTE:	If there are a couple of rows of tiles at the water line of a fibreglass pool with cement-based grouting between the tiles, the water should be treated as if the pool were fully tiled i.e. the pool's interior should be judged by its weakest point (the grouting, not the tiles) where the unbalanced water may cause damage.

How do you lower the calcium hardness of pool water?

This is a difficult process and it should be attempted if there are no alternatives, like replacing part of the water with softer water.

Procedure:

24.	_____________________________________________________________________________________
.

25.	_____________________________________________________________________________________

26.	_____________________________________________________________________________________

27.	_____________________________________________________________________________________

28.	_____________________________________________________________________________________

TOTAL ALKALINITY

It is easy to increase or decrease the level of total alkalinity and it is recommended that this is used when adjustments are made to achieve the desirable saturation index.  The total alkalinity must be established with sodium bicarbonate.

 Is Soda ash  suitable to use in this instance   YES   NO.

The pH of the water will vary according to the concentration of the sodium bicarbonate.  The higher the total alkalinity the higher the pH is.  Also the pH is more stable when the total alkalinity is above 100 mg/L.

The approximate pH values –vs-  total alkalinity are listed below:

Total Alkalinity - mg/L			pH

20			7.0

50			7.4

100			7.7

125			7.8  ideal for most residential pools

160			7.9

200			8.0

240			8.2

How do you increase the total alkalinity of the pool water?

29. ______________________________________________ should be used..

How do you lower the total alkalinity of the pool water?

- ________________________

- ________________________

Either may be used.  

NOTE:	After adding the above products to the water the pH will be lower than expected, however, the final pH will be reached within a few days.

pH

The value of the pH is dependant on the amounts of acidic or alkaline chemicals present in the water.  It cannot be altered without changing the acidity or the total alkalinity.  Irrespective of the pool's finish the pH of the water should be maintained above 7 at all times.  The only exception to this rule is in the case of older fibreglass pools which, due to osmosis, develop those unsightly black spots.  The recommended pH in that case is about 6.8.

What may occur when the pH of the pool water is below 7:

- ________________________________________________

- ________________________________________________

- ________________________________________________

- ________________________________________________

- ________________________________________________

- ________________________________________________

When the pH of the pool water is 7.0.

38. - the pH _________________________________ and even small amounts of acids or alkaline materials cause significant changes;

39. - the ____________________________________ of the water changes with the pH.

When the pH of the pool water is between 7.2 and 8.0

40. - this level is _________________IS  or IS NOT the recommended pH range for all pools;

41. - as the total alkalinity increases the pH becomes ________________________________

42. - chlorine and bromine sanitisers are __________________________________________

43. - people can stay in the water for long periods without _____________________________.

When the pH of the pool water is above 8.0.

44. - _______________ is ineffective with the increasing pH and much higher levels are required 
  		           to maintain efficient sanitisation;

45. - the likelihood of "milkiness" and __________________________increases especially above pH 8.4;

46. - the water depletes the skin of ____________________________especially in the warmer waters.

When the pH has to be altered it is carried out by increasing or decreasing the 47. ____________________________.

TOTAL DISSOLVED SOLIDS

As it was mentioned earlier the dissolved solids cannot be filtered out and they can be reduced only by 

48. __________________________________ and 49._____________________________________

RECOMMENDED STARTING-UP PROCEDURES

- _________________________________________________

52. _________________________________________________

53, _________________________________________________

- _________________________________________________

- _________________________________________________

- _________________________________________________

- _________________________________________________

- _________________________________________________

-end-