PAPER   3 TEST					Your Name ___________________

SWIMMING POOL EQUIPMENT

- WHY ARE FILTERS REQUIRED?

___________________________________________________________________________

___________________________________________________________________________

___________________________________________________________________________

- HOW DO FILTERS WORK?

___________________________________________________________________________

___________________________________________________________________________

___________________________________________________________________________

- WHAT ARE THE THREE BASIC TYPES OF FILTERS?

_____________________________________________

_____________________________________________

_____________________________________________

- DESCRIBE EACH TYPE OF FILTER IN LESS THAN 50 WORDS

- ____________________________________________________________________

____________________________________________________________________

____________________________________________________________________

- ____________________________________________________________________

____________________________________________________________________

____________________________________________________________________

- ____________________________________________________________________

____________________________________________________________________

- DESCRIBE FILTRATION EFFICIENCY LEVELS FOR THE MAIN TYPES

___________________________________

___________________________________

___________________________________

- WHAT SIZE (IN MICRONS) ARE THESE TYPICAL CONTAMINANTS?

Bacteria 	_________ Microns

Algae Cells 	_________ Microns

Algae Spores 	_________ Microns

Virus Cells	_________ Microns

- WHAT SIZE (IN MICRONS) ARE THE FOLLOWING FILTER MEDIA?

Filter Sand 	________ Microns

DE Power 	________ Microns

Cartridge 	________ Microns

- WHAT PERCENTAGE OF A METRE IS A MICRON?

____ %

- WHAT IS A FLOCCULANT?

__________________________________________________________________________

- WHEN IS A FLOCCULENT TREATMENT REQUIRED?

__________________________________________________________________________

- WHAT PROCESS IS FOLLOWED TO CORRECTLY USE FLOCCULANT IN A POOL?

___________________________________________________________________________

___________________________________________________________________________

___________________________________________________________________________

___________________________________________________________________________

- WHAT IS THE DESIRED RESULT FROM USING FLOCCULANT?

___________________________________________________________________________

- HOW DO YOU RESTORE PROPER FILTER FUNCTION TO A BLOCKED SAND FILTER?

__________________________________

- WHAT OPTIONS ARE THERE TO REDUCE WASTE WATER USEAGE

___________________________________________________________________________

___________________________________________________________________________

___________________________________________________________________________

- WHAT IS THE RECOMMENDED RATIO (HEIGHT TO WIDTH) FOR A SAND FILTER

1.0H X 1.0W	1.5H X 1.0W	1.0H X 2.0W	1.5H X 2.0W	(CIRCLE ONE)

- DESCRIBE THE FOUR MAIN FEATURES IN THIS VIEW OF A TYPICAL SAND FILTER

- _______________________________________

- _______________________________________

- _______________________________________

- _______________________________________

- DOES THE pH LEVEL AFFECT THE OPERATION OF A FILTER, AND IF SO, WHY?

___________________________________________________________________________

__________________________________________________________________________

___________________________________________________________________________

___________________________________________________________________________

- WHAT ARE CARTRIDGE FILTERS?

___________________________________________________________________________

___________________________________________________________________________

- SHOULD A CARTRIDGE FILTER BE BACKWASHED?

________

- WHAT IS THE MAXIMUM VOLUME OF WATER FOR A FIVE Sq M CARTRIDGE?

________

- HOW DOES A CARTRIDGE VACUUM FILTER SYSTEM WORK?

___________________________________________________________________________

___________________________________________________________________________

- WHAT IS A DIATOMACEOUS EARTH (DE) FILTER?

___________________________________________________________________________

___________________________________________________________________________

- CAN DE BE USED IN A SAND FILTER, AND IF SO WHAT FOR?

___________________________________________________________________________

___________________________________________________________________________

- WHAT IS THE RECOMMENDED FILTRATION CYCLE FOR SAND FILTERS?

__________________________________________

- HOW DO YOU CALCULATE THE MINIMUM FILTRATION CYCLE FOR YOUR POOL

Step 1 	__________________________________________

Step 2 	__________________________________________

Step 3 	__________________________________________

- THE INSTALLATION OF THE FILTER

WHAT ARE THE 16 RECOMMENDED STEPS WHEN INSTALLING A FILTER?

- ______________________________________________________________

- ______________________________________________________________

- ______________________________________________________________

- ______________________________________________________________

- ______________________________________________________________

- ______________________________________________________________

- ______________________________________________________________

- ______________________________________________________________

- ______________________________________________________________

- ______________________________________________________________

- ______________________________________________________________

- ______________________________________________________________

- ______________________________________________________________

- ______________________________________________________________

- ______________________________________________________________

- ______________________________________________________________

- DESCRIBE THE INSTALLATION OF THE BACKWASH LINE

___________________________________________________________________________

___________________________________________________________________________

- WHAT IF THERE IS NO COUNCIL SEPTIC SEWER LINES?

___________________________________________________________________________

- WHAT ARE THE RULES ON DISCHARGING BACKWASH WATER ONTO THE GROUND?

___________________________________________________________________________

___________________________________________________________________________

- WHAT FILTER MAINTENANCE IS REQUIRED?

(1)	Manufacturer's Instructions

____________________________________________________________________

(2)	Backwash Valve (MPV)

____________________________________________________________________

(3)	Air Leaks

____________________________________________________________________

(4)	Pump and Motor Bearings

____________________________________________________________________

____________________________________________________________________

- HOW MANY TYPES OF AUTOMATIC CHLORINATORS ARE THERE?

_____________

- DESCRIBE BRIEFLY THE FOLLOWING:

FLOATING DISPENSERS

___________________________________________________________________________

___________________________________________________________________________

METERING DEVICES

___________________________________________________________________________

___________________________________________________________________________

ELECTROLYTIC CHLORINATORS

___________________________________________________________________________

___________________________________________________________________________

IONIC STERILIZERS

___________________________________________________________________________

___________________________________________________________________________

- WHAT IS THE OTHER CHEMICAL PRODUCED BY SALINE ELECTROLYSIS?

SODIUM CHLORIDE AND ______________________________________

- HOW DOES THIS CHEMICAL AFFECT THE POOL WATER?

___________________________________________________________________________

- WHAT IS “VOLTAGE LEAK”?

___________________________________________________________________________

- DESCRIBE AUTOMATIC pH CONTROLLERS

___________________________________________________________________________

___________________________________________________________________________

___________________________________________________________________________

-end-